## Main
Test ID | T15-2_3 | Azimuth-Dependence Test (Randomized 360° Step Scan, Off-North Start, Tilted Mount)
Mount azimuth |  |  | 0 | ° | Description/title: | Code:
Arm start azimuth |  |  | 0 | ° | Rotation-direction control test: two runs at the same baseline configuration (level, arm at true north), 25-repeat randomized azimuth sweep each, run once with normal (CW) and once with reversed (CCW) motor rotation direction, to isolate whether the direction of rotation itself introduces a systematic bias into the measured differential signal. CW/CCW in one run. - Test ID should be T15-3_4. Sorry I am stupid. | HORIZONTAL slepý test 360-kontrola accel-lepší csv-azimut parametr-fixed trim settle-s navratem do A-antibacklash-CW-CCW-I2Coprava-název testu-teplota
Measuring plane deviation/slope azimuth |  |  | 0 | °/°
Theoretical earth rotation rate |  |  | 0.0041781 | °/s
Latitude |  |  | 49 | °
Theoretical earth rotation rate at latitude cos(lat) |  |  | 0.0027411 | °/s
Azimuth step |  |  | 22.5 | °
Azimuth step count |  |  | 16
Rotation direction |  |  | CC/CCW |  |  | min X | min Y | max X | max Y
Cycles |  |  | 15
Samples per position |  |  | 200
Trim |  |  | 50
Cable protection |  |  | 400 | ° |  | -0.0034516 | -0.0023334 | 0.0015533 | 0.0038367
Total samples |  |  | 48000

## T15-2_3
| azimut | n | xA_prumer | xC_prumer | diffx_prumer | yA_prumer | yC_prumer | diffy_prumer | axA_prumer | axC_prumer | diffax_prumer | ayA_prumer | ayC_prumer | diffay_prumer | (xA-xC)/2 | (yA-yC)/2 | axA | ayA | axC | ayC | tiltA | tiltC | směr náklonu A | kontrola azimut+směr
1 | 0 | 15 | -0.30164 | -0.299 | -0.0026434 | 0.54418 | 0.54798 | -0.0038066 | 0.079787 | 0.017538 | 0.062248 | -0.0049932 | -0.0036652 | -0.001328 | -0.0013217 | -0.0019033 | 0.079787 | -0.0049932 | 0.017538 | -0.0036652 | 4.5853 | 1.0266 | 356.419 | 356.4164
2 | 22.5 | 15 | -0.29953 | -0.29588 | -0.00365 | 0.54481 | 0.54948 | -0.0046667 | 0.077875 | 0.019255 | 0.05862 | 0.0070812 | -0.015867 | 0.022949 | -0.001825 | -0.0023334 | 0.077875 | 0.0070812 | 0.019255 | -0.015867 | 4.4849 | 1.4297 | 5.1956 | 5.192
3 | 45 | 15 | -0.29832 | -0.29855 | 0.00023004 | 0.54225 | 0.54316 | -0.00090992 | 0.0704 | 0.025811 | 0.04459 | 0.017225 | -0.025826 | 0.04305 | 0.00011502 | -0.00045496 | 0.0704 | 0.017225 | 0.025811 | -0.025826 | 4.1563 | 2.0925 | 13.7483 | 13.7485
4 | 67.5 | 15 | -0.29859 | -0.29881 | 0.00022 | 0.54383 | 0.5462 | -0.0023733 | 0.060743 | 0.035588 | 0.025154 | 0.024238 | -0.032795 | 0.057033 | 0.00011 | -0.0011866 | 0.060743 | 0.024238 | 0.035588 | -0.032795 | 3.7498 | 2.7739 | 21.7535 | 21.7537
5 | 90 | 15 | -0.29823 | -0.30014 | 0.0019066 | 0.54376 | 0.54453 | -0.00077003 | 0.04906 | 0.047813 | 0.0012472 | 0.026564 | -0.035434 | 0.061998 | 0.00095331 | -0.00038502 | 0.04906 | 0.026564 | 0.047813 | -0.035434 | 3.1982 | 3.4118 | 28.4339 | 28.4358
6 | 112.5 | 15 | -0.2986 | -0.30171 | 0.0031066 | 0.54682 | 0.54562 | 0.0012032 | 0.037073 | 0.059695 | -0.022622 | 0.024472 | -0.033385 | 0.057856 | 0.0015533 | 0.00060162 | 0.037073 | 0.024472 | 0.059695 | -0.033385 | 2.546 | 3.9219 | 33.4287 | 33.4319
7 | 135 | 15 | -0.29746 | -0.298 | 0.00053662 | 0.54532 | 0.54392 | 0.0013967 | 0.026783 | 0.069861 | -0.043078 | 0.017925 | -0.026734 | 0.044659 | 0.00026831 | 0.00069833 | 0.026783 | 0.017925 | 0.069861 | -0.026734 | 1.8469 | 4.2898 | 33.7935 | 33.794
8 | 157.5 | 15 | -0.29883 | -0.29866 | -0.00016332 | 0.5438 | 0.54184 | 0.0019533 | 0.018965 | 0.076758 | -0.057793 | 0.0079395 | -0.01662 | 0.024559 | -8.165e-05 | 0.00097665 | 0.018965 | 0.0079395 | 0.076758 | -0.01662 | 1.1781 | 4.5045 | 22.7162 | 22.716
9 | 180 | 15 | -0.29685 | -0.29943 | 0.00258 | 0.54874 | 0.54107 | 0.0076734 | 0.01704 | 0.079412 | -0.062372 | -0.0041909 | -0.0050088 | 0.00081787 | 0.00129 | 0.0038367 | 0.01704 | -0.0041909 | 0.079412 | -0.0050088 | 1.0055 | 4.5638 | 346.1827 | 346.1853
10 | 202.5 | 15 | -0.29577 | -0.29818 | 0.0024167 | 0.54533 | 0.54201 | 0.0033233 | 0.019134 | 0.076916 | -0.057783 | -0.015886 | 0.006909 | -0.022795 | 0.0012083 | 0.0016616 | 0.019134 | -0.015886 | 0.076916 | 0.006909 | 1.425 | 4.4291 | 320.2979 | 320.3003
11 | 225 | 15 | -0.30065 | -0.29628 | -0.0043634 | 0.55168 | 0.54466 | 0.0070233 | 0.026141 | 0.070432 | -0.044292 | -0.026104 | 0.017193 | -0.043297 | -0.0021817 | 0.0035116 | 0.026141 | -0.026104 | 0.070432 | 0.017193 | 2.1171 | 4.1576 | 315.0405 | 315.0361
12 | 247.5 | 15 | -0.30378 | -0.29881 | -0.0049733 | 0.54737 | 0.54218 | 0.0051835 | 0.03566 | 0.059754 | -0.024094 | -0.033097 | 0.023881 | -0.056977 | -0.0024867 | 0.0025917 | 0.03566 | -0.033097 | 0.059754 | 0.023881 | 2.7887 | 3.6895 | 317.1352 | 317.1302
13 | 270 | 15 | -0.30203 | -0.29852 | -0.00351 | 0.54846 | 0.54522 | 0.0032367 | 0.048045 | 0.048132 | -8.627e-05 | -0.035651 | 0.026625 | -0.062276 | -0.001755 | 0.0016183 | 0.048045 | -0.035651 | 0.048132 | 0.026625 | 3.4299 | 3.1531 | 323.4236 | 323.4201
14 | 292.5 | 15 | -0.30145 | -0.29862 | -0.0028333 | 0.54797 | 0.54461 | 0.0033634 | 0.060217 | 0.035944 | 0.024273 | -0.033471 | 0.02438 | -0.057851 | -0.0014166 | 0.0016817 | 0.060217 | -0.033471 | 0.035944 | 0.02438 | 3.9505 | 2.4893 | 330.9331 | 330.9303
15 | 315 | 15 | -0.29998 | -0.29752 | -0.00246 | 0.54284 | 0.5426 | 0.00024337 | 0.069718 | 0.026438 | 0.04328 | -0.026923 | 0.017814 | -0.044737 | -0.00123 | 0.00012168 | 0.069718 | -0.026923 | 0.026438 | 0.017814 | 4.2861 | 1.8269 | 338.8852 | 338.8828
16 | 337.5 | 15 | -0.30188 | -0.29498 | -0.0069033 | 0.54116 | 0.5441 | -0.00294 | 0.076845 | 0.019288 | 0.057557 | -0.016797 | 0.0078229 | -0.02462 | -0.0034516 | -0.00147 | 0.076845 | -0.016797 | 0.019288 | 0.0078229 | 4.5115 | 1.1926 | 347.6699 | 347.663
17 | 0 | 15 | -0.25458 | -0.24722 | -0.0073634 | 0.46115 | 0.45963 | 0.0015133 | 0.047257 | 0.047365 | -0.00010807 | -0.037001 | 0.024784 | -0.061785 | -0.0036817 | 0.00075666 | 0.047257 | -0.037001 | 0.047365 | 0.024784 | 3.4409 | 3.0643 | 321.9401 | 321.9328
18 | 22.5 | 15 | -0.25879 | -0.25008 | -0.00871 | 0.46533 | 0.46362 | 0.0017166 | 0.035813 | 0.059773 | -0.02396 | -0.034827 | 0.022691 | -0.057518 | -0.004355 | 0.00085829 | 0.035813 | -0.034827 | 0.059773 | 0.022691 | 2.8634 | 3.6657 | 315.7998 | 315.7911
19 | 45 | 15 | -0.25104 | -0.24988 | -0.0011533 | 0.46282 | 0.46344 | -0.00061661 | 0.025377 | 0.068854 | -0.043477 | -0.028336 | 0.015885 | -0.044221 | -0.00057666 | -0.00030832 | 0.025377 | -0.028336 | 0.068854 | 0.015885 | 2.18 | 4.0521 | 311.8467 | 311.8455
20 | 67.5 | 15 | -0.25156 | -0.25281 | 0.0012466 | 0.46782 | 0.46153 | 0.0062966 | 0.018655 | 0.075806 | -0.057151 | -0.018321 | 0.0060008 | -0.024322 | 0.00062332 | 0.0031483 | 0.018655 | -0.018321 | 0.075806 | 0.0060008 | 1.4983 | 4.3612 | 315.5175 | 315.5188
21 | 90 | 15 | -0.25024 | -0.25369 | 0.0034467 | 0.46719 | 0.46244 | 0.00475 | 0.015796 | 0.078061 | -0.062265 | -0.0065625 | -0.0057996 | -0.00076286 | 0.0017234 | 0.002375 | 0.015796 | -0.0065625 | 0.078061 | -0.0057996 | 0.98009 | 4.4895 | 337.4393 | 337.4427
22 | 112.5 | 15 | -0.24969 | -0.25193 | 0.0022467 | 0.46617 | 0.4607 | 0.0054767 | 0.018557 | 0.076034 | -0.057477 | 0.0054014 | -0.01776 | 0.023162 | 0.0011233 | 0.0027384 | 0.018557 | 0.0054014 | 0.076034 | -0.01776 | 1.1074 | 4.4783 | 16.2289 | 16.2312
23 | 135 | 15 | -0.25017 | -0.25302 | 0.00285 | 0.46696 | 0.46289 | 0.0040766 | 0.024695 | 0.069374 | -0.044679 | 0.01557 | -0.027617 | 0.043187 | 0.001425 | 0.0020383 | 0.024695 | 0.01557 | 0.069374 | -0.027617 | 1.6729 | 4.2822 | 32.2308 | 32.2337
24 | 157.5 | 15 | -0.24856 | -0.25815 | 0.00959 | 0.46483 | 0.46302 | 0.0018133 | 0.034714 | 0.059476 | -0.024762 | 0.022304 | -0.034617 | 0.05692 | 0.004795 | 0.00090665 | 0.034714 | 0.022304 | 0.059476 | -0.034617 | 2.3648 | 3.946 | 32.7206 | 32.7302
25 | 180 | 15 | -0.24997 | -0.25523 | 0.00526 | 0.46256 | 0.46485 | -0.0022832 | 0.046415 | 0.047587 | -0.0011715 | 0.024697 | -0.036961 | 0.061658 | 0.00263 | -0.0011416 | 0.046415 | 0.024697 | 0.047587 | -0.036961 | 3.0138 | 3.4544 | 28.017 | 28.0223
26 | 202.5 | 15 | -0.24486 | -0.25577 | 0.01091 | 0.46135 | 0.46404 | -0.0026933 | 0.059443 | 0.036231 | 0.023211 | 0.022478 | -0.034759 | 0.057237 | 0.005455 | -0.0013466 | 0.059443 | 0.022478 | 0.036231 | -0.034759 | 3.6436 | 2.878 | 20.7139 | 20.7248
27 | 225 | 15 | -0.24663 | -0.25226 | 0.0056301 | 0.45902 | 0.46769 | -0.00867 | 0.068888 | 0.026213 | 0.042675 | 0.015791 | -0.028075 | 0.043866 | 0.002815 | -0.004335 | 0.068888 | 0.015791 | 0.026213 | -0.028075 | 4.0528 | 2.2013 | 12.9108 | 12.9164
28 | 247.5 | 15 | -0.2503 | -0.25364 | 0.0033366 | 0.45962 | 0.46541 | -0.0057866 | 0.075543 | 0.019445 | 0.056098 | 0.0059655 | -0.018094 | 0.024059 | 0.0016683 | -0.0028933 | 0.075543 | 0.0059655 | 0.019445 | -0.018094 | 4.346 | 1.522 | 4.5152 | 4.5185
29 | 270 | 15 | -0.25484 | -0.24899 | -0.0058566 | 0.46105 | 0.46817 | -0.0071199 | 0.077547 | 0.016763 | 0.060784 | -0.0057624 | -0.0063355 | 0.00057308 | -0.0029283 | -0.00356 | 0.077547 | -0.0057624 | 0.016763 | -0.0063355 | 4.4599 | 1.0268 | 355.7503 | 355.7444
30 | 292.5 | 15 | -0.25098 | -0.24766 | -0.00332 | 0.46004 | 0.46825 | -0.0082099 | 0.075707 | 0.019726 | 0.055981 | -0.017678 | 0.0056812 | -0.023359 | -0.00166 | -0.004105 | 0.075707 | -0.017678 | 0.019726 | 0.0056812 | 4.4589 | 1.1763 | 346.857 | 346.8536
31 | 315 | 15 | -0.25393 | -0.24819 | -0.0057367 | 0.46225 | 0.46592 | -0.0036666 | 0.069021 | 0.0259 | 0.04312 | -0.027891 | 0.015617 | -0.043508 | -0.0028683 | -0.0018333 | 0.069021 | -0.027891 | 0.0259 | 0.015617 | 4.2692 | 1.7331 | 337.9962 | 337.9905
32 | 337.5 | 15 | -0.25328 | -0.24606 | -0.0072233 | 0.46011 | 0.4633 | -0.0031834 | 0.059443 | 0.035701 | 0.023742 | -0.034611 | 0.022429 | -0.05704 | -0.0036117 | -0.0015917 | 0.059443 | -0.034611 | 0.035701 | 0.022429 | 3.9442 | 2.4164 | 329.7895 | 329.7823